## Slide 1: Work report
2021/03/11

## Slide 2: Hardware
Decode chip
Triode array
Variable resistor

## Slide 3: Software of scan signal

## Slide 4: software of reading data

## Slide 5: sensor test in air 3sec/sensor

## Slide 6: sensor test in gas 3sec/sensor

## Slide 7: sensor test 2sec/sensor
air
gas

## Slide 8
Discuss rapid sensing

## Slide 9: Test method
Assume the maximum current of the supply : 1A pre-heating time : 2s
heating current 100mA/sensor
test speed
0.2S
heating time = 2s

## Slide 10: The sensing mechanism
When oxygen molecules are adsorbed on the surface of SnO2, they will occupy the previously formed oxygen vacancies and take electrons from the material conduction band to form negative oxygen species.
Since the electrons in the conduction band are consumed,an electron depletion layer is formed (Fig. 5d). When the thickness of nanoscale SnO2 is less than twice the Debye length(LD), the electron depletion layer will extend to the entire
material, and thus the electrical signal changes will reach a maximum

## Slide 11: Future plan
New test method need to be designed
Feasibility analysis of reducing electron depletion layer